## Sheet1
				Total Watts
Power (watts) = Voltage (v) x Current (amps)					5410

				Total Daily Energy
Energy (watt-hours) = Power (watts) x Elapsed Time (hours)					4707

	Total Daily Usage:		4707 wh		Max System Watts:		5410 watts

			4.707 kwh				5.41 kilowatts

AC Loads	Voltage (v)	Current (amps)	Power (watts)	Daily Usage (hrs)	Energy (wh)	% Total Watts	% Total Watt-Hours
Microwave	120	16.7	2000	0.3	567	37%	12%
Air Conditioner	120	15.0	1800	0	0	33%	0%
Insta-Pot	120	8.3	1000	0.6	600	18%	13%
Laptop	120	0.8	100	8	800	2%	17%
Television	120	0.3	30	8	240	1%	5%

DC Loads	Voltage (v)	Current (amps)	Power (watts)	Daily Usage (hrs)	Energy (wh)	% Total Watts	% Total Watt-Hours
Line/Tank Heaters	12	10.8	130	4	520	2%	11%
Phone	5	2.0	130	4	520	2%	11%
All Lights	12	8.3	100	6	600	2%	13%
All Fans	12	5.8	70	5	350	1%	7%
Fridge	12	3.3	40	12	480	1%	10%
iPad	5	2	10	3	30